## Q2 2022 Forum - Q&A Report
Q&A from March 21, 2023 BayREN Regional Forum - Decarbonization - Implications for the Gas System and What Local Governments Are Doing
Disclaimer: We have removed duplicates and edited for readability and to remove personal information but have not fact-checked the content of this document. Answers include responses from attendees as well as presenters.
Question | Answer(s)
Many many years ago, some redeveloped neighborhood lots where designed without any natural gas, because electricity was thought to be the cleaner utility, not too long ago, code said natural gas was cleaner, and new homes were required to have natural gas, now, code is trying to get rid of the gas utility. the biggest question I get is, IS ELECTRICITY CLEANER THAN GAS????, because most electricity is generated from coal, whether the coal is mined in this country or foreign, the pollution is the same | Coal, including imported power, is down to 3% of all electricity generated. Gas is still over a third. https://www.energy.ca.gov/data-reports/energy-almanac/california-electricity-data/2021-total-system-electric-generation Please discard the notion that we are getting “most” electricity from dirty fossil fuel sources. That is not true. Most of CA’s electricity is now generated by solar, wind, hydro power. geothermal, (and still some nuclear)… in CA it’s NOT from burning coal. We have some “peaker plants” that burn gas and some energy enters CA from eastern areas when there is a high demand for electricity, but the percentage is less than half. Look up the data at the CAL Independent System Opertor (CalISO) . Battery power is increasingly being used to capture high amoutns of solar energy on summer days and storing it so that there is less need for these “peaker” facilities. We are also just on the cusp of using batteries in EVs as a source of home energy during outages… see the F-150 Ford Lightning as an early example of this. This table summarizes how electrical power is generated in California. Our biggest generator is natural gas power plants (35-40% of total), with hydro, wind, solar, and nuclear making up most of the remainder. Coal is about 3% currently, and falling. https://www.energy.ca.gov/data-reports/energy-almanac/california-electricity-data/2021-total-system-electric-generation
Equity: what about an approach that focuses on building more new public housing that will provide updated and bettter housing to disadvantaged communities and then have existing housing upgrade to net zero higher income housing all of which is still needed? | Consider the impact on marginalized people. This concept is actually proposing intentional gentrification? The possible that gentirfication is one of the by product of doing highquality low-income public housing. As a country and a state, we have virtually stopped doing this. Expecting the private sector to provide affordable low-income housing has been a bust and the government needs to start providing this.
Curious why the term “zonal decarbonization” vs. “zonal electrification”? I have heard the latter but not the former. Does “zonal decarbonization” imagine something other than electrification? | Both are correct, but I personally like decarbonization because it keeps the focus on what we’re really trying to do here - decarbonize! What is the carbon foot print of the manufacturing of PV systems and all the parts there of, including batteries, and, what is the enviromental impact of all the the materials being dumped once they are no longer repairable or the entire system is absolete? The difference is that "decarbonization" includes other approaches like efficiency and load shifting, as well as electrification. It's a broader approach. And I heard mention of moving to lower carbon options (someone cited replacing tire burning with gas heating … and other immediate challenges for hard to decarbonize industries).
What’s the rationale for requiring at least one geothermal project in each zonal electrification pilot? | There are two good reasons to explore the feasibility of thermal energy networks. For one, they may work well for campus type facilities or areas with larger variations in heat / cold temperature. Secondly, we think that these types of projects can provide work for the workers who will be most impacted by our transition away from the gas distribution system.
Thanks for the presentation. We’ve heard from residents who are very wary of electrification. They are deeply concerned about panel upgrades, especially those who live on undergrounded streets in the hills, where PG&E has long wait times, and quotes for upgrades are quite high. Many of these customers are more affluent and could be early adopters. Please discuss PG&E’s role in the short and long term to address these concerns regarding cost and wait-time. | Most homes won’t need a panel upgrade to fully electrify if it is done in a smart way using the AMP diet methods. HEA has analyzed smart meter data for over 20,000 CA homes/apartments/condos (using NEC 220.87) and found peak power use is much lower than is predicted by standard load calculations (NEC 220.83). 86% were under 50 amps, and 48% are under 30 amps. San Mateo County’s electrification pilot project and SMUD found similar results. HEA results here: https://1drv.ms/f/s!Ag7eOV5ifY5Ch2FNngIFZEzuLLFm?e=a3mbfL Seems like the key need is to get local code officials and electricians on board to understand how to manage electricity panel capacity smartly with various end uses and power management techniques.
Does renewable natural gas pose the same indoor air quality issues as traditional fossil gas? | Yes, it's the same gas. It's just generated in a different way.
What plans or programs are in place or design to assist the renters of single family detached homes. The cost of the utility bills do not affect the landlord so there is no incentave to go all electric or install PV systems. As a Building Official, I receive this complete alot. | Single family renters have been historically underserved because it's so hard to reach landlords and because (as you say) the benefits to landlords are minimal. CEC is launching a new Equitable Buildng Decarbonization program that will do zero-cost or low cost direct installation of decarbonization measures, including in single family rentals. Sign up for updates! https://www.energy.ca.gov/programs-and-topics/programs/equitable-building-decarbonization-program
You talked about how we cannot keep burdening gas customers to fund electrification. How will the capital cost of electrification be funded, and what does the capital cost cover? | On the electric side there have been 2 precedents to allocate unusual costs to customers: 1. the DWR bond charge that amortized the cost of costly power contracts from the 2001 era to be paid off over a long time (yes by continuing electric customers) 2. the "departing load charge" that burdens (electric) customers who turn to non-IOUs for their electrons, to pay off the capital infrastructure and long term power contracts that had been signed on their behalf. The trick now is to decide how to use such mechanisms to seek "fair" cost obligation payments from gas, electric, and/or beyond-utility sources (e.g. tax funds, GHG funds)
I have major concerns about zonal strategies after having analyzed usage at the meter thru work on TECH and seeing how dramatically neighbors in the same census tract can differ in projected bill & GHG outcomes. Plus, in terms of technology adoption, trying to force early adopters, late adopters, and laggards to all switch at the same time risks creating more dissatisfaction and pushback than the electrification movement can afford. What strategies are being considered to target the people who are most willing and most likely to benefit first? | That's bothering me too. One approach that I think has promise is to get neighborhoods to self-identify. Most likely in response to some intentional engagement by a City or a utility. Finding amenable groups of neighbors may be the determining factor in cost-effectiveness, and may create the best political optics and least pushback, as you indicated.
If we going to electrifying homes and they are adding Pv charger, Hp hvac systems, all electric appliances in home , and solar but the main electric service is undersize from the transformer why does the homeowner has to foot the bill. The quote was about $20,000 to dig up and reengineer. | It makes sense to electrify without upsizing the connection to the local distribution grid. That way you avoid the expense. Here’s one resouce to help get started. The CEC through SB 68 will be providing additional information about efficient right sized electrification. https://www.redwoodenergy.net/watt-diet-calculator
There have been several numbers tossed around on how decarbonized the electricity in California is: PG&E indicated that they are 95% decarbonized and many CCA communities claim 100% renewable electricity. But the reality from Cal ISO is that, overrall, the electricity in California coming from renewables is only 35% at a yearly average for 2021. Isn't decarbonizing generation a higher priority to eliminating gas in order to make using electricity truly carbon-free? | It would be worthwhile to look again at how CalISO defines “renewables”… are they including hydro? nuclear? Renewables are defined by ISO as Solar, Wind, Geothermal, Biomass, Biogas, and Small Hydro. See www.caiso.com